# Aquatic HydroHarvest — Incident Reporting Policy & SOP

## 1. Purpose

This document defines the standardized process for reporting, documenting, escalating, and resolving operational and technical incidents within Aquatic HydroHarvest.

The goal is to ensure:

- Rapid detection and containment of incidents

- Consistent reporting structure across all departments

- Clear escalation paths and accountability

- Reliable post-incident analysis and prevention

## 2. Scope

This policy applies to all incidents affecting:

- IT systems (servers, networks, applications)

- Operational technology (sensors, automation systems, aquaculture/hydroponics controls)

- Physical infrastructure (power, water systems, facility equipment)

- Data security (breaches, leaks, unauthorized access)

- Personnel safety events related to operations

## 3. Definition of an Incident

An incident is any unplanned event that:

- Disrupts normal operations

- Compromises system integrity or data

- Reduces service availability or performance

- Introduces risk to security, safety, or compliance

## 4. Incident Classification

### 4.1 Severity Levels

SEV-1 (Critical)

- System-wide outage

- Active data breach

- Operational shutdown of production systems

- Safety-critical failures

SEV-2 (High)

- Partial system failure

- Significant performance degradation

- Suspicious security activity

- Loss of non-critical production capability

SEV-3 (Medium)

- Localized service disruption

- Non-critical sensor or equipment failure

- Minor security alerts

SEV-4 (Low)

- Cosmetic issues

- Minor bugs or alerts with no operational impact

## 5. Reporting Channels

Incidents must be reported through:

- Internal incident management system (primary)

- IT support escalation channel

- Direct supervisor notification (if system unavailable)

Emergency (SEV-1) incidents must be reported immediately via:

- Direct phone or emergency communication channel

- Followed by system logging within 30 minutes

## 6. Incident Reporting Workflow

### Step 1: Detection

Incidents may be detected via:

- Automated monitoring systems

- Employee observation

- External alerts (vendors, customers, systems)

### Step 2: Initial Report Creation

Reporter must log:

- Time of incident

- Location/system affected

- Description of issue

- Immediate impact observed

- Screenshots/logs (if available)

Minimum required fields:

- Incident type

- Severity estimate

- Affected asset/system ID

### Step 3: Acknowledgement

- Incident ticket is assigned automatically or by IT support

- Acknowledgement must occur within:

  - SEV-1: Immediate (≤ 15 minutes)

  - SEV-2: ≤ 1 hour

  - SEV-3/4: ≤ 24 hours

### Step 4: Triage & Classification

IT or Operations team:

- Validates severity level

- Assigns ownership

- Identifies affected systems

- Determines escalation need

### Step 5: Escalation Rules

SEV-1

- Immediate escalation to Operations Manager + IT Lead

- Executive notification required

SEV-2

- Escalate to department head + IT supervisor

SEV-3/4

- Handled at support or departmental level

### Step 6: Containment & Response

Actions may include:

- System isolation

- Service shutdown

- Access revocation

- Temporary workaround deployment

- Backup activation

### Step 7: Resolution

- Root cause identified

- Fix implemented (patch, repair, configuration change)

- System restored to operational state

- Validation testing performed

### Step 8: Incident Closure

Incident is closed only when:

- Issue is fully resolved

- Affected systems are stable

- Stakeholders confirm resolution

- Documentation is complete

### Step 9: Post-Incident Review (PIR)

Mandatory for SEV-1 and SEV-2 incidents.

Includes:

- Root cause analysis (RCA)

- Timeline of events

- Response effectiveness evaluation

- Preventive action recommendations

## 7. Documentation Requirements

Each incident record must include:

- Incident ID

- Timestamp of detection and resolution

- Severity classification

- Affected systems/assets

- Action log (step-by-step response)

- Root cause analysis

- Final resolution summary

## 8. Communication Protocol

- SEV-1 incidents require real-time status updates

- Internal updates must be provided at regular intervals

- External communication must be approved by management

- No unauthorized disclosure of incident details

## 9. Monitoring & Detection Systems

Aquatic HydroHarvest uses:

- Automated system alerts

- Sensor anomaly detection (for aquaculture/hydroponics systems)

- Security event monitoring (SIEM logs)

- Performance threshold triggers

## 10. Incident Prevention Feedback Loop

After closure:

- Incident trends are analyzed monthly

- Recurring issues are escalated to engineering

- Preventive controls are implemented

- System improvements are tracked

## 11. Compliance & Enforcement

Failure to report incidents may result in:

- Disciplinary action

- Access restriction

- Compliance violation escalation

All incident data must remain:

- Accurate

- Time-stamped

- Tamper-resistant

## 12. Continuous Improvement

This policy is reviewed regularly by Aquatic HydroHarvest to:

- Improve response times

- Enhance detection systems

- Reduce incident recurrence

- Align with cybersecurity and operational standards